## Slide 1
CREF 2018: ISLAND RESILIENCY ACTION CHALLENGE
David Gumbs
Dagmara Avanindra
Chris Burgess
Patrick Drijvers
Jason Robinson

## Slide 2: Table of Contents
Background & identification of critical infrastructure
1
Safeguard I: Undergrounding
2
3
Safeguard III: Micro Grids
4
Safeguard IV: Human Resiliency
5
Safeguard II: Distributed Generation

## Slide 3
Determining where to invest scarce human & capital resources while improving, reliability, effective emergency response and driving a new economy transition David Gumbs, CEO ANGLEC
2018 Winning Problem Statement
Critical infrastructure is the physical assets that are so vital that their incapacity or destruction would have a debilitating impact on our physical or economic security or public health or safety.
(Source. US Homeland Security)

## Slide 4: Critical Infrastructure Assessment ($231M)
Utilities
Health
Security
1 Police Station
1 Prison
1 Court House
3 Government Buildings
6 Major Grocery Stores
~9,500 Households & Businesses
Economic
Tourism Corridor (Mix of 10 hotels, rests, villas, etc.)
5 Major Hotels
2 Banks
Transportation
2 Sea Ports
1 Airport
1 Major Hospital (+1 small private)
4 Regional Clinics
1 Dental (4 priv. practices)
Education
6 Primary Schools
1 High School
1 Private School
Electricity
  1 Gen. Plant: Op Cap. 23MW
  2 Substations
  T&D 150 miles
  Poles 9,500
  Underground 3 miles
Telecom
  2 Major providers (1 Lan)
  40 Comm. Towers
  1 Submarine Cable
1 Water RO Plant
2 Fuel Depots
Other

## Slide 5
Safeguard 1: Undergrounding

## Slide 6
Assumptions
Project Cost: ~$140,000,000
Duration with 100% Financing: 5 years
Duration @ 6,000 meters/yr: 15 years
Length of HV Assessed: 85,000 meters
Cost at @ 6k meters/yr: $10m /year
Prioritizing Critical Resources: Underground Grid
Covers all 7 main feeders (excluding spur-lines)
Findings
Utility via Tariff, CDB [financing], Limited opportunities (EU, UK, etc.), JV with TELECOM, CTV & Water.
Financing

## Slide 7
Safeguard 2: Distributed Generation

## Slide 8
Distributed Generation: Solar PV
Summary of Findings
Estimate 9,000 households (500W to 2.4kW): US$48.4M
Installed cost per home @2.4kW: US$12.5k ($5.10/W)
@ Blocks of 100: $1,248,000 (2400w x 100 x $5.10)
Average household cost across all size installations: : $5,500
Households
Funding Strategy
USAID Development Credit Authority (DCA) via Republic Bank, CDB, Utility Solar Lease Program, PPA, Mortgage Solar Loans and Refinancing with Equity for Solar Program

## Slide 9
Distributed Generation: Solar PV
Summary of Findings
5 MW located in Tourism Corridor: US$11M
14 MW located in Tourism Corridor: US$30M
PPA estimated at $0.17-$0.22 /kWh
* Inclusive of 1.5MWH (4HR) battery storage
Floating Solar PV
22 Locations @ Tourism Corridor @ 1.2 MW: US$4.5M
130 Locations @ Small Commercial @ 1 MW: US$4.0M
6 Locations @ Large Commercial @ 6 MW: US$22.0M
7 Locations @ Small Commercial @ 500kW: US$1.4M
Microgrids

## Slide 10
Human Resiliency

## Slide 11: Human Resiliency
Man never made any material as resilient as human spirit
- Bernard Williams

## Slide 12: Human Resiliency – Capacity Building
TECHNICAL CAPACITY - CARILEC
Capacity Building for Technical Staff
Objective: Efficient platform to increase access to capacity building among members, increase connectivity & knowledge sharing
Implementation:
Online platform with various trainings across the Caribbean
Online groups: WhatsApp and LinkedIn
Webinars: undergrounding, distributed solar, microgrids, succession building, tenders, PPAs, etc.
Cost: $6.000 per month for program management
BASIC NEEDS – K1
Capacity Building for Basic Needs
Objective: Enable resilience and agility of staff to empower them for grid restoration
Medical Response: through WIEMS (Windward Island Emergency Med Services)
CPR/First Aid 2-day Program: $150pp
Emergency Med Responders: $400pp
Psychological Agility: through INSPIRED and Red Cross
Psychological Agility: $500 per group
Extensive Medical Response & Psychological Agility through UN and World Food Program: $10,000 - $20,000

## Slide 13: Human Resiliency – Emergency Response
RED CROSS
PAHO – Pan American Health Organization
WHO – World Health Organization
Primary Needs
CDAP – CARILEC Disaster Assistance Program ($75,000 - $125,000)
CSSF – Conflict Security Stability Fund ($1,600,000 across 70 countries yearly)
CCRIF – Caribbean Catastrophic Risk Insurance Facility
Technical Restoration
CAT 5: $2,000,000 USD
for 6 teams, 7 months
CAT 4: $900,000 USD
for 6 teams, 3 months
CAT 3: $360,000 USD
for 6 teams, 1 month
Hurricane Recovery Costs

## Slide 14: Thank You!!!
David Gumbs
david@daavisolutions.com
Dagmara Avanindra
dagmara@davaenergy.com
Chris Burgess
cburgess.contractor@rmi.org
Patrick Drijvers
drijvers.patrick@nvgebe.com
Jason Robinson
jason@solarbuzzjamaica.com

## Slide 15: Additional Information
APPENDIXES

## Slide 16
Appendix 1: Infrastructure Assessment

## Slide 17
Arial View of Critical Infrastructure

## Slide 18
Tier 1 Infrastructure
Power Plant
Solar Farm
Fuel Depot
Airport
Police Station
Prison
Hospital
Tier 2 Infrastructure
ANGLEC Main Office
Schools
Court House
Telecom Services
Banks (2)
Government Offices
Zone 1
Valley
Central
Tier 3 Infrastructure
Grocery Stores
Ariel Infrastructure Dispersion Map

## Slide 19: Critical Infrastructure Assessment Detail

## Slide 20
Appendix: Distributed Generation

## Slide 21: Distributed Cost Assessment (1)

## Slide 22: Distributed Cost Assessment (2)

## Slide 23: Distributed Cost Assessment (3)

## Slide 24: Exploration of a Tourism Corridor

## Slide 25
Appendix 2: Undergrounding

## Slide 26: Existing Grid

## Slide 28
Appendix 3: Distributed Generation

## Slide 29
Appendix Distributed Solar Costs

## Slide 30
Partner with Republic Bank and other funding sources such as CDB & USAID Development Credit Authority (DCA)
Utility solar lease, install and own program
PPA with Utility
Run homeowner resiliency programs promoting solar + storage (cap @ 2.4kW
DCA: Partial credit guarantee designed to reduce risk to generate additional lending to underserved markets.
Republic Bank mortgage solar loans and refinancing with equity for solar.
Distributed Generation: Solar PV
Funding Strategy

## Slide 31
Appendix Development Credit Authority (DCA)

## Slide 32
Appendix 4: Microgrids

## Slide 33
Distributed Generation: Other Explored Options
Tourism Corridor Microgrid

## Slide 34
Exploration of a Tourism Corridor

## Slide 35
Appendix 5: Human Resiliency

## Slide 36: T&D Emergency Restoration Costs
Item | Cost
Food | $30/day
Lodging | $75/day
Daily wage – 10 hr work day | $200/day
Round-trip per linesman | $750
Tools transport. per linesman | $500
Truck transportation | $10,000
Digger transportation | $10,000
Cost per crew per rotation (5 ppl per crew, 4 weeks per rotation) | $44,950
CAT 5: 30 linesman, 7 months | $2,000,000
CAT4: 30 linesman, 3 months | $900,000
CAT3: 30 linesman, 1 month | $360,000